## DC

### Panel 1 – Upper

| Position | Label | Load |
| --- | --- | --- |
| 1 |  | Inverter Gen start |
| 2 | 5 | Tub Valve |
| 3 |  | NC |
| 4 | 6 | Rear Exhaust |
| 5 |  | NC |
| 6 | 9 | Proximity |
| 7 | BB | Bilge Buddy |
| 8 |  | NC |
| 9 |  | Attic Panel |

### Panel 2 – Lower

| Position | Label | Load |
| --- | --- | --- |
| 1 |  | NC |
| 2 |  | NC |
| 3 | 7 | Water Pump |
| 4 | 8 | LP Detect |
| 5 |  | NC |
| 6 |  | NC |
| 7 |  | NC |
| 8 | White | Grey Water Valve |
| 9 | Black | Black Water Valve |

## AC

## Panel A - Main

| Position | Leg | Type | Load |
| --- | --- | --- | --- |
| Left 1 | A | 230-1 | Bumper In |
| Left 2 | B | 230-2 | Bumper In |
| Left 3 | A | 1-30 | Water Heater A |
| Left 4 | B | 1-30 | Water Heater B |
| Right 1 | A | 260-1 | GenSet In |
| Right 2 | B | 260-2 | GenSet In |
| Right 3 | A | 1-50 | Panel B Supply – Buss A |
| Right 4 | B | 1-50 | Panel B Supply – Buss B Inverter |

## Panel B – Generator Only

| Position | Leg | Type | Load |
| --- | --- | --- | --- |
| 1A | A | 2-20 | NC |
| 1B | A | 2-20 | NC |
| 2A | B | 2-20 | Right Groom, Frig, Vacuum |
| 2B | B | 2-20 | NC |
| 3A | B | 2-20 | NC |
| 3B | B | 2-20 | Left Groom, Blow Dryer |
| 4 | A | 1-30 | AC |

Updated 6/09 to allow AC to run independent of inverter/dryer

## Panel C – Inverter Supplied ( GenSet Leg B )

| Position | Leg | Type | Load |
| --- | --- | --- | --- |
| 1A | B | 2-20 | Rear Utility |
| 1B | B | 2-20 | Right Groom, Hydro Surge |
| 2A | B | 2-20 | Bumper |
| 2B | B | 2-20 | Left Groom |
| 3A | B | 2-20 | Attic 1 |
| 3B | B | 2-20 | Attic 2 |
| 4A | B | 2-20 | NC |
| 4B | B | 2-20 | NC |